## Sheet1
Economic Analysis for Electrolytic
Recovery Technology for Metal
Cyanide Recycling
Assumptions:
· Capital costs are based on an 800-gallon
silver cyanide plating bath:
· Electrolytic Recovery Unit: | 15000
· Labor and Installation Costs: | 3000
· Facility generates: | 300000 | gallons of silver
cyanide rinse waters a year
· Labor: | 45 | /hour
· Labor requirements for operating and | 30 | hours per year
maintaining ERU system are approximately:
· Electricity cost: | 0.07 | /kWh
· ERU uses: | 0.192 | kilowatts of energy
· Pump uses: | 0.112 | kilowatts of energy
· Unit on 365 days per year 24 hours per day
· Waste treatment costs including chemical, | 0.05 | per gallon
labor, and energy costs:
Cost Comparison for Electrolytic Unit vs. Treatment in IWTP
| ERU | IWTP
Capital and Installation Costs | 18000 | 0
Operational Costs:
Operation and Maintenance Costs | 1350 | 0
Waste Treatment and Disposal Costs | 0 | 15000
Utility Costs (electricity) | 186.4128 | 0
Lab Analysis Costs | 2000 | 0
Total Costs (not including capital and installation costs) | 3536.4128 | 15000
Total Income: | 0 | 0
Annual Benefit: | -3536.4128 | -15000
Economic Analysis Summary
Annual Savings for ERU: | 11463.5872
Capital Cost for Diversion Equipment/Process: | 18000
Payback Period for Investment in Equipment/Process: | 1.5702 | years