## Sheet1
Economic Analysis for Recycling
Wash Water Using Closed Loop
Wash Racks
Assumptions:
A basic wash rack for automobiles and other small vehicles plus
an integrated wash water recovery system will cost between $25,000
and $30,000. If a facility has a wash rack without closed loop recycling in
operation, an above ground water recovery system can be installed. A 500
gallon above ground system will cost approximately $10,000. If the facility
also has a clarifier in place, a system can be purchased for approximately
$5,000 to recover the wash water. For this analysis: | 10430
· Existing facility has a wash rack and can accommodate an above
ground water recovery system and high pressured water that is fed
back into washing system.
· Labor rate and length of time to wash vehicles remains unchanged.
Minor maintenance to clean stainless steel double screen filter.
· Cost of water (includes treatment/discharge) at: | 0.01 | /gallon
· Cost to install one G.F.I. Dual Outlet 15 amp outlet and plumb to
existing equipment not included.
· Cost of electricity for one pump is not significant.
· 500-gallon above ground water recovery system with a single tank, 1/2
hp pump transfer station, 5 hp pumping motor, one particle accelerator,
and a pump and motor enclosure. This system is capable of recovering
wash water from a maximum of: | 16 | cars/hour
Uses approximately: | 50 | gal of water/ vehicle
· Facility washes: | 250 | vehicles/month or | 3000 | vehicles/yr
Gallons of water used per wash: | 50
· System provides 85 percent of the wash water required for each
vehicle: | 85%
· System provides 70 percent of the soap required for each vehicle: | 70%
· Cost of equipment based on GSA price list.
· Cost of soap: | 400 | /year
· Closed loop system has:
Drag out rate: | 15%
Fresh rinse water to be added: | 15%
Annual maintenance cost for closed loop washracks: | 200
Annual Cost Comparison for Closed Loop Washracks
| Closed | No Closed
| Loop | Loop
Capital and Installation Costs: | 10430 | 0
Operational Costs:
Annual Soap Cost: | 120 | 400
Annual Water Cost: | 225 | 1500
Annual Maintenance: | 200 | 0
Total Operational Costs: | 545 | 1900
Total Income: | 0 | 0
Annual Benefit: | -545 | -1900
Economic Analysis Summary
Annual Savings for Water Recycling Systems: | 1355
Capital Cost for Equipment/Process: | 10430
Payback Period for Investment in Equipment/Process: | 7.6974 | years
This system will only be feasible for facilities that washes larger numbers of
vehicles, has limited water resources, or restrictive water discharge
limitations.