## Sheet1
Economic Analysis for True Zero-Discharge
Pollution Control Systems
Assumptions:
Water Usage
Gallons of potable water a day used under the old method of processing : | 87000
Number of days/year old method was used: | 182.5
Gallons of potable water per year used under the old method of processing : | 15877500
Cost for water: | 1.65 | / | 1000 | gallons
Cost of water for traditional method: | 26197.875
Gallons of make-up water the Zero Discharge System uses per year: | 2000
Cost of water for Zero Discharge System: | 3.3
Cost of Traditional Wastewater Treatment
Cost of the conventional wastewater treatment: | 50 | / | 1000 | gallons
Cost of the conventional treatment of chrome bearing waste: | 950 | / | 1000 | gallons
Cost of the conventional treatment of silver bearing waste: | 100 | / | 1000 | gallons
The old method processed 1,500,000 gallons per year of waste containing
silver, cadmium, and chrome. Since the Beale AFB wastewater treatment
plant was incapable of treating the waste to comply with the NEPDES
requirement, no cost comparison can be made
Cost of Hazardous Waste (HW) Disposal
Conventional HW Disposal Cost: | 1000000
New method of treating waste processed: | 250000 | gallons per year
Waste sludge disposal: | 75000 | gallons
Total cost of treatment: | 42500
Cost of Zero discharge waste and waste water treatment: | 170 | / | 1000 | gallons
Item | Conventional IWTP | Zero Discharge
Potable Make-up Water | 26197.875 | 3.3
Wastewater Treatment | N/A | N/A
HW Disposal | 1000000 | 42500
TOTAL COSTS | 1026197.875 | 42503.3
Economic Analysis Summary
Annual Savings for Zero-Discharge IWTP: | 983694.575
Capital Cost for Equipment/Process: | 1500000
Payback Period for Investment in Equipment/Process: | 1.5249 | years