## Sheet1
Economic Analysis for X-Ray
Developer, Tabletop
Assumptions:
· Same amount of film processed per year: | 72 | sheets/year
· Chemical replacement: every | 3 | months or | 4 | times/year
· Chemical volume: | 1.7 | gallons each for tabletop model
| 8 | gallons each for floor model
· Chemical cost:
Fixer: | 1.1 | /gal
Developer: | 3 | /gal
· Disposal cost: | 2.25 | /gal
· Tabletop unit cost: | 9600
· Floor unit cost: | 28000
· Labor requirements are identical
· Annual energy and maintenance costs estimated at: | 10% | of equipment costs
Annual Operating Cost Comparison for Tabletop
X-Ray Developer and Floor Unit X-Ray Developer
| Tabletop | Floor Unit
Operational Costs:
Material: | 27.88 | 131.2
Energy and Maintenance | 960 | 2800
Waste Disposal: | 15.3 | 72
Total Operational Costs: | 1003.18 | 3003.2
Total Recovered Income: | 0 | 0
Net Annual Cost/Benefit: | -1003.18 | -3003.2
Economic Analysis Summary
Annual Savings for Tabletop X-Ray Developer: | 2000.02
Capital Cost for Diversion Equipment/Process: | 9600
Payback Period for Investment in Equipment/Process: | 4.8 | years