## Sheet1
Economic Analysis for Halon 1301 Recycler
Assumptions:
Estimated equipment cost for pump unit: | 5000
Estimated equipment cost for filtration unit: | 5000
Labor rate: | 30 | /hr
Electricity: negligible
Utility air cost: negligible
Multiple types of bottles processed ranging from 2.5 lb. to 25 lb.
Number of bottles processed: | 33 | /month or | 396 | /year
Average pumping rate: | 10 | min/bottle or | 66 | hr./year
Average filtration rate: | 10 | min/bottle or | 66 | hr./year
Total recycling system labor hours: | 2 | hrs./bottle or | 792 | hrs./year
Labor hours required to process and turn in used halon bottles (disposal): | 24 | hr/month or | 288 | hr/yr
Shipping costs to replace halon bottles with new ones: | 50 | /month or | 600 | /year
Annual Operating Cost Comparison for
Halon 1301 Recycler and Disposal of Used Halon Bottles
| Halon Recycler | Disposal of Used
Halon Bottles
Operational Costs:
Labor: | 23760 | 8640
Shipping | 0 | 600
Total Operational Costs: | 23760 | 9240
Total Recovered Income: | 0 | 0
Net Annual Cost/Benefit: | -23760 | -9240
Economic Analysis Summary
Annual Savings for Halon 1301 Recycler: | -14520
Capital Cost for Diversion Equipment/Process: | 10000
Payback Period for Investment in Equipment/Process: | N/A