## Sheet1
Economic Analysis for Alternatives
to CFC-12 as a Tracer Gas for
Leak Detection
Assumptions:
·Loss of refrigerants for the Navy fleet: | 262000 | lbs./year
· Portable leak detectors are already in use on the fleet
· Cost for replacement of refrigerants for the fleet without
the use of the RLM: | 2400000
· Labor costs for replacing refrigerants for the fleet
without the use of the RLM: | 300000
· Estimated 50-75% decrease in replacement and
labor costs with RLM; Average decrease: | 62.5 | %
· Estimated cost of one RLM: | 5000
· Approximate number of RLM installed per ship: | 4
· Approximate number of RLM installed for the fleet: | 920
· Installation costs are dependent upon type of labor
employed (contractor vs. sailor).
Estimated installation costs: | 5000 | per | 4 | RLM
Annual Operating Cost Comparison for the RLM and
Portable Leak Detectors
| RLM with Portable | Portable
| Leak Detectors | Leak Detectors
Capital Costs: | 4600000
Installation | 1150000
Operational Costs:
Labor | 112500 | 300000
Refrigerants | 900000 | 2400000
Total Operational Costs: | 1012500 | 2700000
Total Recovered Income: | 0 | 0
Net Annual Benefit/Cost: | -1012500 | -2700000
Economic Analysis Summary
Annual Savings for Refrigerant Leak Monitor: | 1687500
Capital Cost for Refrigerant Leak Monitor: | 5750000
Payback Period for Refrigerant Leak Monitor: | 3.4074 | years