## Sheet1
Economic Analysis for On-Site Recycling of Used Oil
Diesel Fuel Supplement
Annual volume of used lube oil, gal | 2000
Annual volume of diesel fuel required to meet the 1:20 dilution factor, gal: | 40000
Estimated value of diesel fuel per gallon | 1
Standard or basic equipment costs | 8500
Total capital investment costs | 57000
Savings Investment Ratio (SIR) | 1.543
Net Uniform Annual Savings (NUAS) | 5022
Investment payback period, years | 5.3
Waste Oil Burners
Volume of used lube oil to be consumed (6,050 gallons in 6 months at 24 hours/day): | 1.4 | gallons/hour
Waste oil furnace and vent installed | 9500
2,000 gallon storage tank installed | 8000
Training and SPCC preparation | 1200
Energy value of waste oil (per year) (7,600 Therms/year): | 3200
Waste oil disposal cost (status quo) | 0.75 | /gallon
Increased labor for waste oil handling | 975 | /year
Payback period | 3.5 | years